Title: C:\Users\goughbrian\Documents\PRODUCT FOLDERS-----------------\INSTALLATION DETAILS - Master Files\Flex Series\Flex Series - Ho
Author: goughbrian

r

TRIM  FASTENER W/SEALING
WASHER,  OR RIVET
SEALANT OVERLAP UPPER/LOWER
FLASHINGS

WALL  PENETRATION

_l	LOWER VIEW
I
(X) - NOT BY AEP SPAN

_>	SEAL PERIMETER OF FLASHINGS AND ALL TRIM OVERLAPS WITH A
CONTINUOUS BEAD OF NON­ SKINNING BUTYL TAPE OR SEALANT

OPTIONAL FIELD FABRICATED CLOSURE COVER TRIM (X)

OUTSIDE CLOSURE (SEALED &
SECURED WITH SEALANT)

N
I...

FLEX SERIES
HORIZONTAL INSTALL.

WALL PENETRATION (3D)

FXH-17 | .)
REV. 6/19/17